## FCU Cross Reference
Fan Coil Cross Reference
Item | Whalen | IEC | Trane | Williams | First Co. | Carrier | JCI | York | Envirotec | McQuay/Daikin | Rittling | Titus
Horizontal Ceiling Concealed Free Return | HCFR | CHY | FCC | LH-B | HBC / HH | 42CA | FHF | FHF | HLF | FCHH | FCH | HBC
Horizontal Ceiling Concealed Plenum Rear Return | HCPR | CPY | FCC | LH-R | PHBC / PHH | 42CE | FHP | FHP | HLP | FCHH | FCHP | HBP
Horizontal Ceiling Concealed Plenum Bottom Return | HCPB | CPY | FCC | LH-Q | - | 42CE | FHP | FHP | HLP | FCHH | FCHP | HBP
Horizontal Ceiling Recessed Flush Mount | HCRF | CBY | FCE | LH-F | RHBC / RHH | 42CK | - | - | - | FCHR | FFRC | HBR
Horizontal Ceiling Exposed Front Supply | HCEF | CXY | FCD | LH-D | CHBC / CHH | 42CG | FHX | FHX | HLE | FCHC | FC | HBE
Horizontal Ceiling Exposed Bottom Supply | HCEB | CXY | FCD | LH-E | - | - | - | - | - | FCHC | - | -
Hi-Performance Horizontal Ceiling Concealed Free Return | HPFR | HHY | - | HH-B | HYB | 42DA | FNF | FNF | HPF | HHDB | FDH | HHC
Hi-Performance Horizontal Ceiling Concealed Plenum Rear Return | HPPR | HPY | - | HH-R | PHYB | 42DC | FNP | FNP | HPP | HHDB | FDHP | HHP
Hi-Performance Horizontal Ceiling Concealed Plenum Bottom Return | HPPB | HPY | - | HH-Q | - | 42DC | FNP | FNP | HPP | HHDB | FDHP | HHP
Hi-Performance Horizontal Ceiling Recessed Flush Mount | HPRF | - | - | HH-E | - | - | - | - | - | - | - | -
Hi-Performance Horizontal Ceiling Exposed Front Supply | HPEF | HLY/HXY | - | HH-D | - | 42DF/42DE | FNX | FNX | HPE | HCDB | FDC | HHE
Hi-Performance Horizontal Ceiling Exposed Bottom Supply | HPEB | HLY/HXY | - | HH-E | - | 42DF/42DE | - | - | - | - | - | -
Vertical Wall Console Concealed | VWCS | FHY | FCA | LV-B | VCB | 42VAC | FWC | FWC | VFC | FCVH | FFH | VBC
Vertical Wall Console Recessed with Painted Grille | VWRG | FHY | FCH | LV-R | WCB | 42VGA | FWC | FWC | VFC | FCVH | FFH | VBC
Vertical Wall Console Flat Top Painted | VWFT | FXY | FCB | LV-D | VFB | 42VBC | FWX | FWX | VFE | FCVC | FF | VBF
Vertical Wall Console Slope Top Painted | VWST | FSY | FCJ | LV-S | VSB | 42VFC | FWI | FWI | VFS | FCVS | FS | VBA
Vertical Wall Console Slope Top Painted Wrapped | VWSW | - | - | LV-W | - | - | - | - | - | - | - | -
Vertical Wall Console Low Recessed Painted Grille | VWLR | LHA | FCK | LS-R | - | 42VCA | FLC | FLC | VLC | CLH | FLH | VBLC
Vertical Wall Console Low Top Discharge | VWLT | LXA | FCL | LS-D | - | 42VEA | FLX | FLX | VLE | CLC | FLF | VBL
Vertical Wall Console Low Front Discharge | VWLF | LXA | - | LS-F | - | - | - | - | - | - | - | -
Hi-Performance Vertical Closet Front Return | VCFS | VEY | - | CV-F | CW | 42DD | FCC | FCC | CDV | - | FDV | VHC
Hi-Performance Vertical Closet Front Return Painted | VCFP | - | - | CV-R | - | - | - | - | - | - | - | -
Hi-Performance Vertical Closet Bottom Return | VCBS | VEY | - | CV-B | MB / VMB | 42DD | FCC | FCC | CDV | - | FDV | -
Hi-Performance Vertical Closet Bottom Return Painted | VCBP | - | - | CV-D | - | - | - | - | - | - | - | -
Hi-Performance Vertical Closet Rear Return | VCRS | - | - | CV-G | - | - | - | - | - | - | - | -
Hi-Performance Vertical Closet Rear Return Painted | VCRP | - | - | CV-Q | - | - | - | - | - | - | - | -
Single Wall Vertical Belt Drive Air Handler Standard | AHVS | VBA | BCVD | AV-B | SVW | 42BVE | AVI | AVI | V | - | FBHP | TBV
Single Wall Vertical Belt Drive Air Handler Painted | AHVP | - | - | AV-D | - | - | - | - | - | - | - | -
Single Wall Horizontal Belt Drive Air Handler Standard | AHHS | HBD | BCHD | AH-B | SHW | 42BHE | AHI | AHI | H | HCBB | - | TBH
Single Wall Horizontal Belt Drive Air Handler Painted | AHHP | - | - | AH-D | - | - | - | - | - | HCBB | - | -
[6 empty] | IEC makes these |  | JCI makes these | JCI makes these |  |  | Last updated 3/28/19
Notes:
All competitive data is aquired from catalog data and may not reflect what any of the companies are capable of providing as a non-cataloged special